## Slide 1: Role and Needs of Energy Managers
Energy Manager basics:
The role of an Energy Manager (EM) involves facilitating energy conservation by identifying and implementing various options for saving energy, leading awareness programs, and monitoring energy consumption. As such, EMs play a critical role in the successful implementation of energy conservation and demand management programs within the industry.
Saving Energy
Annual Savings Targets
Reporting
Quarterly Report Reviews
Annual Reviews

## Slide 2: Role and Needs of Energy Managers
Saving Energy:
EM duties revolve around the identification, reporting and implementation of energy savings opportunities. For quick reference, the responsibilities identified in the EM Agreement are summarized below:
Electrical Energy Saving Project Implementation
Energy Tracking & Monitoring
Primary Assessment
Maintenance and Operating Schedules
Energy Savings Opportunities & Action Plan
Measurement & Verification Strategy
Energy Management Behaviour and Business Process Improvements
Employee Awareness Programs
Assistance to IESO Projects
Reporting

## Slide 3: Role and Needs of Energy Managers
Annual Savings Targets:
EMs must meet two targets as laid out in the IAP Energy Manager Funding Agreement:
Minimum 2,000 MWh Annual Savings Target
Minimum 10% of Annual Savings Target attributed to Projects not financed by IESO incentives (non-incented)
Understanding that it can be challenging to reach the targets in the first year of the agreement, if the EM does not meet the Annual Savings Target in the first twelve month period of the Agreement, the shortfall will be added to the Annual Savings Target for the second twelve month period. There is no adjustment in the maximum funding amount if some of the missed target in the first year is carried over to the second year. And the transfer of the target is only available in the first year.
Performance will be assessed based on Quarterly Reports submitted by EMs.

## Slide 4: Role and Needs of Energy Managers
Reporting:
Energy management activities and conservation measures must be reported in Quarterly Reports. Quarterly Reports are submitted to the IESO for review and approval under the EM Funding Agreement.
As part of the reporting requirements under the EM Funding Agreement, EMs are required to prepare the following reporting documents:
Quarterly Reports within 30 days of the end of each quarter.
EMs are encouraged to provide the Quarterly Reports as close to the end of each quarter as possible.
It is recommended that the Quarterly Report be maintained as a living document and used for project tracking purposes, such that it can be provided to the IESO at any time, without need of significant updates.
An Energy Management Plan (EMP) for each Facility occupied by the Participant, no later than six (6) months after the EM’s employment start date, unless an EMP already exists.
An updated EMP is required for each subsequent twelve (12) month term.
It is highly recommended that Energy Managers make use of the Quarterly Report Template.

## Slide 5: Role and Needs of Energy Managers
Quarterly Report Reviews:
Each Quarterly Report will be reviewed by the IESO’s Technical Reviewer so that the likelihood of targets being met can be assessed.
Mid-term technical review of non-incented Measures can be valuable to IESO accounting.
Quarterly Reports should include all Measures to date, including those in previous reports and those that have been reviewed.
Quarterly Reports should also include Projects planned for the next term that show the potential to meet the next term’s targets.
Annual Reviews:
At the end of the fourth quarter of each EM term, an annual review will be performed by the IESO’s Technical Reviewer to determine whether targets have been met.
The annual review is based on the fourth Quarterly Report, which should identify all Projects that are complete and in-service such that they can be counted towards the current term’s Annual Savings Target.

## Slide 6: Role and Needs of Energy Managers
Technical Review of Non-Incented Savings:
Technical review of non-incented savings are conducted as the pre and post project information becomes available. This review may occur during a Quarterly Report review or the Annual Review.
During the Quarterly & Annual Review process for EMs, the IESO’s Technical Reviewer will perform a technical review of significant non-incented projects in order substantiate and verify the reported savings.
For all other non-incented savings, the IESO’s Technical Reviewer will still perform a high level check to ensure that the reported savings are reasonable and to assign a persistence value.
In order to enable the review of non-incented projects, it is recommended that additional documentation be maintained, such as spillover forms, supporting calculations, operating conditions and technical specifications for pre and post project equipment.
In addition, it is also recommended that pre and post project Measurement and Verification (M&V) be conducted for non-incented projects, where feasible, to provide support for the claimed energy savings.
The best support of any project is robust pre-project and post-project power consumption data as collected with power meters or similar instrumentation.
IPMVP-level M&V may not be warranted, but reasonable M&V should be performed for the benefit of internal project management, as well as IAP reporting.
An M&V strategy for ALL substantial projects is a characteristic of successful energy management and a proven strategy for gaining management buy-in.

## Slide 7: Instruments for Energy auditing

## Slide 8: Instruments for Energy auditing

## Slide 9: Instruments for Energy auditing

## Slide 10: Instruments for Energy auditing

## Slide 11: Instruments for Energy auditing

## Slide 12: Instruments for Energy auditing

## Slide 13: Instruments for Energy auditing

## Slide 14: Instruments for Energy auditing

## Slide 15: Instruments for Energy auditing

## Slide 16: Instruments for Energy auditing

## Slide 17: Instruments for Energy auditing

## Slide 18: Instruments for Energy auditing